Universal Anemometer YX-DFS2 - 0-5V Output Anemometer for Wind Speed Measurement (OT7788)

https://www.otronic.nl/en/universal-anemometer-yx-dfs2-0-5v-output-anemomete.html

Specifications:

Power Supply Voltage: DC 12-24V
Output Signal: 0-5V
Wind Speed Range: 0-30m/s
Accuracy: ±3%
Resolution: 0.1m/s (0.36 km/h, 0.2 knots)
Starting Wind Speed: 0.5 m/s (1.8 km/h, 0.97 knots)
Operating Temperature: -40°C to 89°C
Maximum Power Consumption: 4W
Connection: Three-wire system (red - power, black - ground, blue or yellow - signal)
Weight: Less than 1 kg

Applications: The YX-DFS2 anemometer is perfect for various applications, such as:
Arduino, Raspberry Pi, ESP32 projects